## 4C-2
Checklist Muurhaspel volgens de NORM EN 671-1 en 671-3 = controle
Kwartier: |  | Kwartier Koningin Elisabeth
Blok: |  | 5 MR C&I + DG COM
[10 empty] | Algemene staat | [10 empty] | Technisch probleem | [6 empty] | Onder druk
Kwartier | Locatie Blok/vleugel/verdiep/plaats | Nr Brandhaspel | Type | Soort | Haspel aanwezig | Slang aanwezig | Lans aanwezig | Drukmeter aanwezig | Systeem toegangkelijk | Algemene staat | Kast in orde | Haspel in orde | Bedieningshendel in orde | Haspelsteun in orde | half vormvaste slang in orde | Lans in orde | Kappen, onzuiverheden | Corrosie | Corrosie leidingen | Corrosie elementen | Technisch probleem | Deur | Haspel | Haspelsteun | Drukmeter | Slangengeleider | Slang | Toevoer water | Druk | Technisch probleem | Bedieningshendel | Lans 3 standen | Lek | Pictogram | Markering/gebruiksaanwijzing
KKE | 5/0/A | FR21006C5001 | 25/30 |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/0/A | FR21006C5002 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/0/C | FR21006C5003 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/0/C | FR21006C5004 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/1/A | FR21006C5101 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/1/A | FR21006C5102 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/1/C | FR21006C5103 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/1/C | FR21006C5104 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/2/A | FR21006C5201 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/2/A | FR21006C5202 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/2/C | FR21006C5203 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/2/C | FR21006C5204 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/3/C | FR21006C5301 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
KKE | 5/3/C | FR21006C5302 |  |  | OK | OK | OK | NV | OK | OK | OK | OK | OK | OK | OK | NO | OK | OK | OK | OK | NV | OK | OK | OK | NV | OK | OK | [6 empty] | OK | OK
Niet verplicht
Datum van de controle: |  |  | 2020-04-02
Uitvoerder |  | Naam: | CORNELISSEN
|  | Graad: | ADJT
Handtekening:

## Keuzes
OK | In orde
NO | Niet in orde
NV | Niet van toepassing
OB | Onbekend
NG | Niet gemeten